## Format
Sr.No | Description of Item | Qty. | Unit | Rate | Amount
1 | Supply and laying of Cat-6 Cable | 1500 | Mtr | 54/mtr
2 | Supply and Installation of Cat- 6 Jackpanel 24 Port | 0 | Nos |  | -
3 | Supply and Installation of Cat-6 Information outlet for DATA & VOICE | 66 | Nos | 725/unit
4 | Supply and Installation of 15U Rack wall mount with fan,ac box,wiremgr,hardware | 0 | Nos |  | -
5 | Supply and Installation, testing and commission of cat-6 7 ft mounting cord | 33 | Nos | 245/unit
6 | Supply and Installation, testing and commission of cat-6 3 ft mounting cord | 0 | Nos |  | -
7 | Supply and Installation of 24 Port Switch 10/100/1000 DGS | 2 | Nos | 9750/unit
8 | Supply and Installation of 100 Pair MDF For Telephone | 1 | Nos | 3500/unit
TOTAL

## Table 2
Sr. No. | Description | Qty. | Unit | Rate | Total
1 | Supply & Installation of Lighting Point wiring ( Primary ) | 0 | Nos. |  | -
2 | Supply & laying of PVC Conduit Pipe | 230 | Mtr | 45/mtr | 10350
3 | Installation of spot light/bracket light & FAN | 0 | Nos. |  | -
4 | Supply & Installation of Surface Box | 0 | Nos. |  | -
5 | Supply & laying of 2nos 2.5 sq. mm + 1nos 1.5 sq. mm with pvc Contuit Circuit | 525 | Mtr | 175/mtr | 91875
6 | Supply & laying of 2nos 4.0 sq. mm + 1nos 2.5 sq. mm power Circuit wiring | 0 | Mtr |  | -
7 | Supply & Installation of 6A Switch & Socket ( For - Raw power ) | 34 | Nos. | 1150/unit | 39100
8 | Supply & Installation of 2 Nos. 6A Socket & 1 nos 10A Switch ( For - UPS ) | 34 | Nos. | 1550/unit | 52700
9 | Supply & Installation of Electrical DB (4 Way TPN DD. For - LDB and Raw Power ) | 1 | Nos. | 13800/unit | 13800
10 | Supply & laying of Pvc Trunking For - Server Room / All DB / Panel | 0 | Mtr |  | -
| TOTAL |  |  |  | 207825